**Record of Technical Anomaly**

**Technical Anomaly No:**

**PART 1: Issue, impact assessment and signing open**

**Raised by:**  **Date:**

**OP / Method:**

**Analytical sequence(s) affected** *(where appropriate)***:**

**Details** *(please tick relevant box(es) and provide supplementary information where required)***:**

□ QC point(s) above/below ±2SD □ Bracketing standard(s) outside limits

□ QC point(s) above/below ±3SD □ QC Recovery outside limits

□ QC point(s) outside expanded uncertainty □ Other *(add details below)*

□ No apparent reason for this anomaly

**Recommended Action:**

□ No action required out with the usual close monitoring of the Quality Control data in subsequent runs.

**Explanation why the issue does not impact data quality & why it isn’t a departure:**

**Management Review:**

***I agree to open this Technical Anomaly and confirm that this would not prevent results from being reported.***

**Authorised by:**

**(Technical/Services/Quality Manager)**

**Date:**

**PART 2: Follow-up actions and close-out**

**Follow-up actions conducted:**

□ No follow up required

**Signed off & closed by Quality Manager:**

**Date: \_\_\_\_\_\_\_\_\_\_\_\_**

