## sample prep
All in 20ml headspace vials.
Standards: 1ml of each standard + 4ml UHQ + 50ul internal standard (prepare in duplicate)
Samples: 1ml of each sample + 4ml 8% EtOH + 50ul internal standard (prepare in duplicate)
Blanks: 5ml 20% EtOH + 50ul internal standard
Spiked samples: Dilute 1ml L9 standard to 10ml in sample. Then 1ml spiked sample + 4ml 9% EtOH + 50ul internal standard
No. | Description | Alcohol Strength | ml of sample | ml of makeup soln | total ml | strength of makeup soln | strength in vial
S21-1858 | Royal Brackla 2113811-GB12 | 69 | 1 | 4 | 5 | 8 | 20%
S21-1859 | Aultmore 2113808-GB12 | 69 | 1 | 4 | 5 | 8 | 20%
S21-1860 | MacDuff 2113810-GB12 | 69 | 1 | 4 | 5 | 8 | 20%
S21-1861 | Aberfeldy 2113807-GB12 | 70 | 1 | 4 | 5 | 8 | 20%
S21-1862 | Craigellachie 2113809-GB12 | 70 | 1 | 4 | 5 | 8 | 20%
| spiked S21-1858 | 72.1 | 1 | 4 | 5 | 7 | 20%

## sequence
Vial tray | vial number | sample id
4 | 1 | blank
4 | 2 | blank
4 | 3 | L1
4 | 4 | L2
4 | 5 | L3
4 | 6 | L4
4 | 7 | L5
4 | 8 | L6
4 | 9 | L7
4 | 10 | L8
4 | 11 | L9
4 | 12 | blank
4 | 13 | blank
4 | 14 | S21-1858
4 | 15 | S21-1859
5 | 1 | S21-1860
5 | 2 | S21-1861
5 | 3 | S21-1862
5 | 4 | S21-1858 spike
5 | 5 | blank
5 | 6 | S21-1858 spike
5 | 7 | S21-1862
5 | 8 | S21-1861
5 | 9 | S21-1860
5 | 10 | S21-1859
5 | 11 | S21-1858
5 | 12 | blank
5 | 13 | L1
5 | 14 | L2
5 | 15 | L3
6 | 1 | L4
6 | 2 | L5
6 | 3 | L6
6 | 4 | L7
6 | 5 | L8
6 | 6 | L9
6 | 7 | blank

## results
Name | Data File | Acq. Date-Time | thiophene | SMTA | DMDS | DEDS | DMTS | MMFDS | Thianaphthene
Blank | 010921bh01.D | 2021-09-01 17:46 | 1115.6402 | 452.2309 | 4049.2541 | 1033734.3194 | 4047.5792 | 984.1742 | 21070.8487
Blank | 010921bh02.D | 2021-09-01 18:36 | 492.585 | 210.2481 | 3108.2991 | 998103.0003 | 3274.1323 | 89.8732 | 1275.7424
L1 | 010921bh03.D | 2021-09-01 19:27 | 7809.8619 | 206044.6016 | 240500.772 | 963264.6732 | 155557.029 | 58978.683 | 288795.2849
L2 | 010921bh04.D | 2021-09-01 20:17 | 14256.913 | 420616.9249 | 505602.9389 | 960075.5385 | 321690.7952 | 118420.4487 | 556436.9465
L3 | 010921bh05.D | 2021-09-01 21:08 | 31096.1809 | 1075526.1297 | 1290302.7026 | 1030265.9322 | 883151.3892 | 317047.7518 | 1455957.7188
L4 | 010921bh06.D | 2021-09-01 21:58 | 46264.576 | 1704872.4736 | 1992589.3559 | 977895.1261 | 1495972.266 | 530465.7886 | 2371767.0829
L5 | 010921bh07.D | 2021-09-01 22:49 | 56251.9827 | 2139797.9064 | 2561313.7151 | 1025423.694 | 1923385.8705 | 671637.1104 | 2934692.7481
L6 | 010921bh08.D | 2021-09-01 23:39 | 90503.7009 | 3234028.2867 | 3894294.6076 | 1051528.2445 | 3018999.1027 | 1031689.2047 | 4388630.4415
L7 | 010921bh09.D | 2021-09-02 00:30 | 158021.6764 | 5363278.962 | 6713651.16 | 1030144.5283 | 5129987.7372 | 1742703.9004 | 7146926.6619
L8 | 010921bh10.D | 2021-09-02 01:20 | 230974.7036 | 8388837.0966 | 10213002.0116 | 971584.9882 | 7863323.6402 | 2768896.3813 | 11038963.1419
L9 | 010921bh11.D | 2021-09-02 02:11 | 258852.6476 | 10152964.785 | 12033168.8086 | 1003325.7341 | 9112299.5749 | 3332054.1785 | 13200648.0166
Blank | 010921bh12.D | 2021-09-02 03:01 | 359.808 | 831.9842 | 2927.1142 | 913641.6649 | 3519.1503 | 968.0364 | 16646.4905
Blank | 010921bh13.D | 2021-09-02 03:52 | 446.0013 | 378.8924 | 2563.7949 | 1076800.3869 | 3418.4026 | 483.0695 | 8529.1752
S21-1858 | 010921bh14.D | 2021-09-02 04:42 | 0 | 1853212.9421 | 5300498.1925 | 947488.0044 | 323167.5277 | 30914.702 | 11360.079
S21-1859 | 010921bh15.D | 2021-09-02 05:33 | 0 | 1141599.8704 | 5512610.2308 | 999946.5041 | 186775.8101 | 18835.169 | 17011.1794
S21-1860 | 010921bh16.D | 2021-09-02 06:23 | 0 | 1641383.7576 | 9895479.1994 | 924413.721 | 311202.5368 | 38514.7356 | 6933.48
S21-1861 | 010921bh17.D | 2021-09-02 07:14 | 0 | 932173.2646 | 6387721.0476 | 949579.9485 | 241183.962 | 15160.0755 | 4720.25
S21-1862 | 010921bh18.D | 2021-09-02 08:04 | 0 | 2121419.5704 | 8526382.0351 | 1037738.6944 | 475947.2933 | 40644.521 | 42365.1221
S21-1858 spike | 010921bh19.D | 2021-09-02 08:55 | 40032.9493 | 2023368.447 | 6469713.3347 | 1126872.8357 | 1327129.2707 | 342485.1347 | 1367315.6122
Blank | 010921bh20.D | 2021-09-02 09:45 | 81.0957 | 630.1746 | 2544.7214 | 1142330.8883 | 3150.5302 | 199.9369 | 2356.8607
S21-1858 spike | 010921bh21.D | 2021-09-02 10:36 | 41142.636 | 2594692.3091 | 6928857.9887 | 1191281.8769 | 1386701.5561 | 353587.7642 | 1391038.917
S21-1862 | 010921bh22.D | 2021-09-02 11:27 | 0 | 2221861.5884 | 8964921.1196 | 1052204.7393 | 515830.9945 | 43647.2289 | 46492.289
S21-1861 | 010921bh23.D | 2021-09-02 12:17 | 0 | 953338.4775 | 6488411.8528 | 982846.8757 | 266202.7896 | 16977.6821 | 4229.7973
S21-1860 | 010921bh24.D | 2021-09-02 13:08 | 0 | 1677281.6406 | 10914511.6927 | 1008628.833 | 354671.2023 | 42456.5555 | 6121.0397
S21-1859 | 010921bh25.D | 2021-09-02 13:58 | 0 | 1195519.4849 | 5963536.0702 | 920905.2272 | 214802.5673 | 19560.4771 | 2976.775
S21-1858 | 010921bh26.D | 2021-09-02 14:49 | 0 | 1970990.967 | 5785597.0586 | 957019.5111 | 360451.0996 | 34554.1487 | 8179.0492
Blank | 010921bh27.D | 2021-09-02 15:39 | 120.263 | 408.7813 | 2594.9879 | 1076287.0716 | 3586.4651 | 90.4013 | 1284.09
L1 | 010921bh28.D | 2021-09-02 16:30 | 7470.988 | 214870.4388 | 247506.1414 | 1030133.5842 | 190109.9959 | 65537.9612 | 314599.3828
L2 | 010921bh29.D | 2021-09-02 17:20 | 12029.4787 | 421554.2343 | 451505.7994 | 1062800.9468 | 403536.4058 | 135384.1284 | 623049.1144
L3 | 010921bh30.D | 2021-09-02 18:11 | 31418.7731 | 1117462.5547 | 1329382.2273 | 1094022.2065 | 1103899.5316 | 368338.423 | 1632820.6167
L4 | 010921bh31.D | 2021-09-02 19:01 | 51246.453 | 1849526.9427 | 2254931.0228 | 1079789.9221 | 1863856.6613 | 612696.3672 | 2629777.1744
L5 | 010921bh32.D | 2021-09-02 19:52 | 58240.4952 | 2276197.7714 | 2671745.6525 | 1137552.6041 | 2369469.0022 | 779063.2679 | 3306488.585
L6 | 010921bh33.D | 2021-09-02 20:43 | 96531.5847 | 3415629.9624 | 4217992.4527 | 1124774.575 | 3562658.0441 | 1163712.949 | 4836012.9665
L7 | 010921bh34.D | 2021-09-02 21:33 | 140866.4875 | 5654786.6631 | 6794127.0959 | 1078308.1388 | 5889775.8501 | 1971115.1078 | 7923054.2054
L8 | 010921bh35.D | 2021-09-02 22:24 | 156595.3899 | 8711509.5639 | 9209817.2614 | 908739.8204 | 8330793.402 | 3043256.5146 | 12049209.9581
L9 | 010921bh36.D | 2021-09-02 23:14 | 277414.3176 | 10847795.003 | 13535363.2036 | 1138186.6055 | 10455352.4848 | 3737135.5534 | 14461590.2629
Blank | 010921bh37.D | 2021-09-03 00:05 | 104.383 | 731.8808 | 2703.6278 | 1000792.1499 | 3706.0874 | 1038.8171 | 18013.6208
Blank | 010921bh38.D | 2021-09-03 00:55 | 133.1495 | 293.4188 | 2112.7006 | 990343.8874 | 3505.2812 | 440.6069 | 8315.8384
Name | Data File | Acq. Date-Time | thiophene | SMTA | DMDS | DEDS | DMTS | MMFDS | Thianaphthene
Blank | 010921bh01.D | 2021-09-01 17:46 | 0.0010792 | 0.00043747 | 0.0039171 | 1 | 0.0039155 | 0.00095206 | 0.020383
Blank | 010921bh02.D | 2021-09-01 18:36 | 0.00049352 | 0.00021065 | 0.0031142 | 1 | 0.0032804 | 9.0044e-05 | 0.0012782
L1 | 010921bh03.D | 2021-09-01 19:27 | 0.0081077 | 0.2139 | 0.24967 | 1 | 0.16149 | 0.061228 | 0.29981
L2 | 010921bh04.D | 2021-09-01 20:17 | 0.01485 | 0.43811 | 0.52663 | 1 | 0.33507 | 0.12334 | 0.57958
L3 | 010921bh05.D | 2021-09-01 21:08 | 0.030183 | 1.0439 | 1.2524 | 1 | 0.85721 | 0.30773 | 1.4132
L4 | 010921bh06.D | 2021-09-01 21:58 | 0.04731 | 1.7434 | 2.0376 | 1 | 1.5298 | 0.54246 | 2.4254
L5 | 010921bh07.D | 2021-09-01 22:49 | 0.054857 | 2.0867 | 2.4978 | 1 | 1.8757 | 0.65498 | 2.8619
L6 | 010921bh08.D | 2021-09-01 23:39 | 0.086069 | 3.0756 | 3.7035 | 1 | 2.8711 | 0.98113 | 4.1736
L7 | 010921bh09.D | 2021-09-02 00:30 | 0.1534 | 5.2063 | 6.5172 | 1 | 4.9799 | 1.6917 | 6.9378
L8 | 010921bh10.D | 2021-09-02 01:20 | 0.23773 | 8.6342 | 10.5117 | 1 | 8.0933 | 2.8499 | 11.3618
L9 | 010921bh11.D | 2021-09-02 02:11 | 0.25799 | 10.1193 | 11.9933 | 1 | 9.0821 | 3.321 | 13.1569
Blank | 010921bh12.D | 2021-09-02 03:01 | 0.00039382 | 0.00091062 | 0.0032038 | 1 | 0.0038518 | 0.0010595 | 0.01822
Blank | 010921bh13.D | 2021-09-02 03:52 | 0.00041419 | 0.00035187 | 0.0023809 | 1 | 0.0031746 | 0.00044862 | 0.0079209
S21-1858 | 010921bh14.D | 2021-09-02 04:42 | 0 | 1.9559 | 5.5943 | 1 | 0.34108 | 0.032628 | 0.01199
S21-1859 | 010921bh15.D | 2021-09-02 05:33 | 0 | 1.1417 | 5.5129 | 1 | 0.18679 | 0.018836 | 0.017012
S21-1860 | 010921bh16.D | 2021-09-02 06:23 | 0 | 1.7756 | 10.7046 | 1 | 0.33665 | 0.041664 | 0.0075004
S21-1861 | 010921bh17.D | 2021-09-02 07:14 | 0 | 0.98167 | 6.7269 | 1 | 0.25399 | 0.015965 | 0.0049709
S21-1862 | 010921bh18.D | 2021-09-02 08:04 | 0 | 2.0443 | 8.2163 | 1 | 0.45864 | 0.039166 | 0.040824
S21-1858 spike | 010921bh19.D | 2021-09-02 08:55 | 0.035526 | 1.7956 | 5.7413 | 1 | 1.1777 | 0.30393 | 1.2134
Blank | 010921bh20.D | 2021-09-02 09:45 | 7.0991e-05 | 0.00055166 | 0.0022277 | 1 | 0.002758 | 0.00017503 | 0.0020632
S21-1858 spike | 010921bh21.D | 2021-09-02 10:36 | 0.034536 | 2.1781 | 5.8163 | 1 | 1.164 | 0.29681 | 1.1677
S21-1862 | 010921bh22.D | 2021-09-02 11:27 | 0 | 2.1116 | 8.5201 | 1 | 0.49024 | 0.041482 | 0.044186
S21-1861 | 010921bh23.D | 2021-09-02 12:17 | 0 | 0.96998 | 6.6017 | 1 | 0.27085 | 0.017274 | 0.0043036
S21-1860 | 010921bh24.D | 2021-09-02 13:08 | 0 | 1.6629 | 10.8211 | 1 | 0.35164 | 0.042093 | 0.0060687
S21-1859 | 010921bh25.D | 2021-09-02 13:58 | 0 | 1.2982 | 6.4757 | 1 | 0.23325 | 0.02124 | 0.0032324
S21-1858 | 010921bh26.D | 2021-09-02 14:49 | 0 | 2.0595 | 6.0454 | 1 | 0.37664 | 0.036106 | 0.0085464
Blank | 010921bh27.D | 2021-09-02 15:39 | 0.00011174 | 0.00037981 | 0.0024111 | 1 | 0.0033323 | 8.3994e-05 | 0.0011931
L1 | 010921bh28.D | 2021-09-02 16:30 | 0.0072524 | 0.20859 | 0.24027 | 1 | 0.18455 | 0.063621 | 0.3054
L2 | 010921bh29.D | 2021-09-02 17:20 | 0.011319 | 0.39664 | 0.42483 | 1 | 0.37969 | 0.12738 | 0.58623
L3 | 010921bh30.D | 2021-09-02 18:11 | 0.028719 | 1.0214 | 1.2151 | 1 | 1.009 | 0.33668 | 1.4925
L4 | 010921bh31.D | 2021-09-02 19:01 | 0.04746 | 1.7129 | 2.0883 | 1 | 1.7261 | 0.56742 | 2.4355
L5 | 010921bh32.D | 2021-09-02 19:52 | 0.051198 | 2.001 | 2.3487 | 1 | 2.083 | 0.68486 | 2.9067
L6 | 010921bh33.D | 2021-09-02 20:43 | 0.085823 | 3.0367 | 3.7501 | 1 | 3.1674 | 1.0346 | 4.2995
L7 | 010921bh34.D | 2021-09-02 21:33 | 0.13064 | 5.2441 | 6.3007 | 1 | 5.4621 | 1.828 | 7.3477
L8 | 010921bh35.D | 2021-09-02 22:24 | 0.17232 | 9.5864 | 10.1347 | 1 | 9.1674 | 3.3489 | 13.2593
L9 | 010921bh36.D | 2021-09-02 23:14 | 0.24373 | 9.5308 | 11.892 | 1 | 9.186 | 3.2834 | 12.7058
Blank | 010921bh37.D | 2021-09-03 00:05 | 0.0001043 | 0.0007313 | 0.0027015 | 1 | 0.0037032 | 0.001038 | 0.017999
Blank | 010921bh38.D | 2021-09-03 00:55 | 0.00013445 | 0.00029628 | 0.0021333 | 1 | 0.0035395 | 0.0004449 | 0.0083969
Name | Data File | Acq. Date-Time | thiophene | SMTA | DMDS | DMTS | MMFDS | Thianaphthene
Blank | 010921bh01.D | 2021-09-01 17:46 | 0.0010792 | 0.00043747 | 0.0039171 | 0.0039155 | 0.00095206 | 0.020383
Blank | 010921bh02.D | 2021-09-01 18:36 | 0.00049352 | 0.00021065 | 0.0031142 | 0.0032804 | 9.0044e-05 | 0.0012782
Blank | 010921bh12.D | 2021-09-02 03:01 | 0.00039382 | 0.00091062 | 0.0032038 | 0.0038518 | 0.0010595 | 0.01822
Blank | 010921bh13.D | 2021-09-02 03:52 | 0.00041419 | 0.00035187 | 0.0023809 | 0.0031746 | 0.00044862 | 0.0079209
Blank | 010921bh20.D | 2021-09-02 09:45 | 7.0991e-05 | 0.00055166 | 0.0022277 | 0.002758 | 0.00017503 | 0.0020632
Blank | 010921bh27.D | 2021-09-02 15:39 | 0.00011174 | 0.00037981 | 0.0024111 | 0.0033323 | 8.3994e-05 | 0.0011931
Blank | 010921bh37.D | 2021-09-03 00:05 | 0.0001043 | 0.0007313 | 0.0027015 | 0.0037032 | 0.001038 | 0.017999
Blank | 010921bh38.D | 2021-09-03 00:55 | 0.00013445 | 0.00029628 | 0.0021333 | 0.0035395 | 0.0004449 | 0.0083969
L1 | 010921bh03.D | 2021-09-01 19:27 | 0.0081077 | 0.2139 | 0.24967 | 0.16149 | 0.061228 | 0.29981
L1 | 010921bh28.D | 2021-09-02 16:30 | 0.0072524 | 0.20859 | 0.24027 | 0.18455 | 0.063621 | 0.3054
L2 | 010921bh04.D | 2021-09-01 20:17 | 0.01485 | 0.43811 | 0.52663 | 0.33507 | 0.12334 | 0.57958
L2 | 010921bh29.D | 2021-09-02 17:20 | 0.011319 | 0.39664 | 0.42483 | 0.37969 | 0.12738 | 0.58623
L3 | 010921bh05.D | 2021-09-01 21:08 | 0.030183 | 1.0439 | 1.2524 | 0.85721 | 0.30773 | 1.4132
L3 | 010921bh30.D | 2021-09-02 18:11 | 0.028719 | 1.0214 | 1.2151 | 1.009 | 0.33668 | 1.4925
L4 | 010921bh06.D | 2021-09-01 21:58 | 0.04731 | 1.7434 | 2.0376 | 1.5298 | 0.54246 | 2.4254
L4 | 010921bh31.D | 2021-09-02 19:01 | 0.04746 | 1.7129 | 2.0883 | 1.7261 | 0.56742 | 2.4355
L5 | 010921bh07.D | 2021-09-01 22:49 | 0.054857 | 2.0867 | 2.4978 | 1.8757 | 0.65498 | 2.8619
L5 | 010921bh32.D | 2021-09-02 19:52 | 0.051198 | 2.001 | 2.3487 | 2.083 | 0.68486 | 2.9067
L6 | 010921bh08.D | 2021-09-01 23:39 | 0.086069 | 3.0756 | 3.7035 | 2.8711 | 0.98113 | 4.1736
L6 | 010921bh33.D | 2021-09-02 20:43 | 0.085823 | 3.0367 | 3.7501 | 3.1674 | 1.0346 | 4.2995
L7 | 010921bh09.D | 2021-09-02 00:30 | 0.1534 | 5.2063 | 6.5172 | 4.9799 | 1.6917 | 6.9378
L7 | 010921bh34.D | 2021-09-02 21:33 | 0.13064 | 5.2441 | 6.3007 | 5.4621 | 1.828 | 7.3477
L8 | 010921bh10.D | 2021-09-02 01:20 | 0.23773 | 8.6342 | 10.5117 | 8.0933 | 2.8499 | 11.3618
L8 | 010921bh35.D | 2021-09-02 22:24 | 0.17232 | 9.5864 | 10.1347 | 9.1674 | 3.3489 | 13.2593
L9 | 010921bh11.D | 2021-09-02 02:11 | 0.25799 | 10.1193 | 11.9933 | 9.0821 | 3.321 | 13.1569
L9 | 010921bh36.D | 2021-09-02 23:14 | 0.24373 | 9.5308 | 11.892 | 9.186 | 3.2834 | 12.7058
S21-1858 | 010921bh14.D | 2021-09-02 04:42 | 0 | 1.9559 | 5.5943 | 0.34108 | 0.032628 | 0.01199
S21-1858 | 010921bh26.D | 2021-09-02 14:49 | 0 | 2.0595 | 6.0454 | 0.37664 | 0.036106 | 0.0085464
S21-1858 spike | 010921bh19.D | 2021-09-02 08:55 | 0.035526 | 1.7956 | 5.7413 | 1.1777 | 0.30393 | 1.2134
S21-1858 spike | 010921bh21.D | 2021-09-02 10:36 | 0.034536 | 2.1781 | 5.8163 | 1.164 | 0.29681 | 1.1677
S21-1859 | 010921bh15.D | 2021-09-02 05:33 | 0 | 1.1417 | 5.5129 | 0.18679 | 0.018836 | 0.017012
S21-1859 | 010921bh25.D | 2021-09-02 13:58 | 0 | 1.2982 | 6.4757 | 0.23325 | 0.02124 | 0.0032324
S21-1860 | 010921bh16.D | 2021-09-02 06:23 | 0 | 1.7756 | 10.7046 | 0.33665 | 0.041664 | 0.0075004
S21-1860 | 010921bh24.D | 2021-09-02 13:08 | 0 | 1.6629 | 10.8211 | 0.35164 | 0.042093 | 0.0060687
S21-1861 | 010921bh17.D | 2021-09-02 07:14 | 0 | 0.98167 | 6.7269 | 0.25399 | 0.015965 | 0.0049709
S21-1861 | 010921bh23.D | 2021-09-02 12:17 | 0 | 0.96998 | 6.6017 | 0.27085 | 0.017274 | 0.0043036
S21-1862 | 010921bh18.D | 2021-09-02 08:04 | 0 | 2.0443 | 8.2163 | 0.45864 | 0.039166 | 0.040824
S21-1862 | 010921bh22.D | 2021-09-02 11:27 | 0 | 2.1116 | 8.5201 | 0.49024 | 0.041482 | 0.044186
Name | Data File | Acq. Date-Time | thiophene | SMTA | DMDS | DEDS | DMTS | MMFDS | Thianaphthene
Blank | 010921bh01.D | 2021-09-01 17:46 | 1115.6402 | 452.2309 | 4049.2541 | 1033734.3194 | 4047.5792 | 984.1742 | 21070.8487
Blank | 010921bh02.D | 2021-09-01 18:36 | 492.585 | 210.2481 | 3108.2991 | 998103.0003 | 3274.1323 | 89.8732 | 1275.7424
Blank | 010921bh12.D | 2021-09-02 03:01 | 359.808 | 831.9842 | 2927.1142 | 913641.6649 | 3519.1503 | 968.0364 | 16646.4905
Blank | 010921bh13.D | 2021-09-02 03:52 | 446.0013 | 378.8924 | 2563.7949 | 1076800.3869 | 3418.4026 | 483.0695 | 8529.1752
Blank | 010921bh20.D | 2021-09-02 09:45 | 81.0957 | 630.1746 | 2544.7214 | 1142330.8883 | 3150.5302 | 199.9369 | 2356.8607
Blank | 010921bh27.D | 2021-09-02 15:39 | 120.263 | 408.7813 | 2594.9879 | 1076287.0716 | 3586.4651 | 90.4013 | 1284.09
Blank | 010921bh37.D | 2021-09-03 00:05 | 104.383 | 731.8808 | 2703.6278 | 1000792.1499 | 3706.0874 | 1038.8171 | 18013.6208
Blank | 010921bh38.D | 2021-09-03 00:55 | 133.1495 | 293.4188 | 2112.7006 | 990343.8874 | 3505.2812 | 440.6069 | 8315.8384
L1 | 010921bh03.D | 2021-09-01 19:27 | 7809.8619 | 206044.6016 | 240500.772 | 963264.6732 | 155557.029 | 58978.683 | 288795.2849
L1 | 010921bh28.D | 2021-09-02 16:30 | 7470.988 | 214870.4388 | 247506.1414 | 1030133.5842 | 190109.9959 | 65537.9612 | 314599.3828
L2 | 010921bh04.D | 2021-09-01 20:17 | 14256.913 | 420616.9249 | 505602.9389 | 960075.5385 | 321690.7952 | 118420.4487 | 556436.9465
L2 | 010921bh29.D | 2021-09-02 17:20 | 12029.4787 | 421554.2343 | 451505.7994 | 1062800.9468 | 403536.4058 | 135384.1284 | 623049.1144
L3 | 010921bh05.D | 2021-09-01 21:08 | 31096.1809 | 1075526.1297 | 1290302.7026 | 1030265.9322 | 883151.3892 | 317047.7518 | 1455957.7188
L3 | 010921bh30.D | 2021-09-02 18:11 | 31418.7731 | 1117462.5547 | 1329382.2273 | 1094022.2065 | 1103899.5316 | 368338.423 | 1632820.6167
L4 | 010921bh06.D | 2021-09-01 21:58 | 46264.576 | 1704872.4736 | 1992589.3559 | 977895.1261 | 1495972.266 | 530465.7886 | 2371767.0829
L4 | 010921bh31.D | 2021-09-02 19:01 | 51246.453 | 1849526.9427 | 2254931.0228 | 1079789.9221 | 1863856.6613 | 612696.3672 | 2629777.1744
L5 | 010921bh07.D | 2021-09-01 22:49 | 56251.9827 | 2139797.9064 | 2561313.7151 | 1025423.694 | 1923385.8705 | 671637.1104 | 2934692.7481
L5 | 010921bh32.D | 2021-09-02 19:52 | 58240.4952 | 2276197.7714 | 2671745.6525 | 1137552.6041 | 2369469.0022 | 779063.2679 | 3306488.585
L6 | 010921bh08.D | 2021-09-01 23:39 | 90503.7009 | 3234028.2867 | 3894294.6076 | 1051528.2445 | 3018999.1027 | 1031689.2047 | 4388630.4415
L6 | 010921bh33.D | 2021-09-02 20:43 | 96531.5847 | 3415629.9624 | 4217992.4527 | 1124774.575 | 3562658.0441 | 1163712.949 | 4836012.9665
L7 | 010921bh09.D | 2021-09-02 00:30 | 158021.6764 | 5363278.962 | 6713651.16 | 1030144.5283 | 5129987.7372 | 1742703.9004 | 7146926.6619
L7 | 010921bh34.D | 2021-09-02 21:33 | 140866.4875 | 5654786.6631 | 6794127.0959 | 1078308.1388 | 5889775.8501 | 1971115.1078 | 7923054.2054
L8 | 010921bh10.D | 2021-09-02 01:20 | 230974.7036 | 8388837.0966 | 10213002.0116 | 971584.9882 | 7863323.6402 | 2768896.3813 | 11038963.1419
L8 | 010921bh35.D | 2021-09-02 22:24 | 156595.3899 | 8711509.5639 | 9209817.2614 | 908739.8204 | 8330793.402 | 3043256.5146 | 12049209.9581
L9 | 010921bh11.D | 2021-09-02 02:11 | 258852.6476 | 10152964.785 | 12033168.8086 | 1003325.7341 | 9112299.5749 | 3332054.1785 | 13200648.0166
L9 | 010921bh36.D | 2021-09-02 23:14 | 277414.3176 | 10847795.003 | 13535363.2036 | 1138186.6055 | 10455352.4848 | 3737135.5534 | 14461590.2629
S21-1858 | 010921bh14.D | 2021-09-02 04:42 | 0 | 1853212.9421 | 5300498.1925 | 947488.0044 | 323167.5277 | 30914.702 | 11360.079
S21-1858 | 010921bh26.D | 2021-09-02 14:49 | 0 | 1970990.967 | 5785597.0586 | 957019.5111 | 360451.0996 | 34554.1487 | 8179.0492
S21-1858 spike | 010921bh19.D | 2021-09-02 08:55 | 40032.9493 | 2023368.447 | 6469713.3347 | 1126872.8357 | 1327129.2707 | 342485.1347 | 1367315.6122
S21-1858 spike | 010921bh21.D | 2021-09-02 10:36 | 41142.636 | 2594692.3091 | 6928857.9887 | 1191281.8769 | 1386701.5561 | 353587.7642 | 1391038.917
S21-1859 | 010921bh15.D | 2021-09-02 05:33 | 0 | 1141599.8704 | 5512610.2308 | 999946.5041 | 186775.8101 | 18835.169 | 17011.1794
S21-1859 | 010921bh25.D | 2021-09-02 13:58 | 0 | 1195519.4849 | 5963536.0702 | 920905.2272 | 214802.5673 | 19560.4771 | 2976.775
S21-1860 | 010921bh16.D | 2021-09-02 06:23 | 0 | 1641383.7576 | 9895479.1994 | 924413.721 | 311202.5368 | 38514.7356 | 6933.48
S21-1860 | 010921bh24.D | 2021-09-02 13:08 | 0 | 1677281.6406 | 10914511.6927 | 1008628.833 | 354671.2023 | 42456.5555 | 6121.0397
S21-1861 | 010921bh17.D | 2021-09-02 07:14 | 0 | 932173.2646 | 6387721.0476 | 949579.9485 | 241183.962 | 15160.0755 | 4720.25
S21-1861 | 010921bh23.D | 2021-09-02 12:17 | 0 | 953338.4775 | 6488411.8528 | 982846.8757 | 266202.7896 | 16977.6821 | 4229.7973
S21-1862 | 010921bh18.D | 2021-09-02 08:04 | 0 | 2121419.5704 | 8526382.0351 | 1037738.6944 | 475947.2933 | 40644.521 | 42365.1221
S21-1862 | 010921bh22.D | 2021-09-02 11:27 | 0 | 2221861.5884 | 8964921.1196 | 1052204.7393 | 515830.9945 | 43647.2289 | 46492.289
Name | Data File | Acq. Date-Time | thiophene | SMTA | DMDS | DEDS | DMTS | MMFDS | Thianaphthene
S21-1858 | 010921bh14.D | 2021-09-02 04:42 | 0 | 1853212.9421 | 5300498.1925 | 947488.0044 | 323167.5277 | 30914.702 | 11360.079
S21-1858 | 010921bh26.D | 2021-09-02 14:49 | 0 | 1970990.967 | 5785597.0586 | 957019.5111 | 360451.0996 | 34554.1487 | 8179.0492
S21-1858 spike | 010921bh19.D | 2021-09-02 08:55 | 40032.9493 | 2023368.447 | 6469713.3347 | 1126872.8357 | 1327129.2707 | 342485.1347 | 1367315.6122
S21-1858 spike | 010921bh21.D | 2021-09-02 10:36 | 41142.636 | 2594692.3091 | 6928857.9887 | 1191281.8769 | 1386701.5561 | 353587.7642 | 1391038.917

## data analysis
Calibration curves
Level | thiophene | response |  | Level | DMDS | response |  | Level | DMTS | response | Level | MMFDS | response | Level | thianaphthene | response | Level | s-methyl thioacetate | response
L1 | 2.17 | 0.0081077 |  | L1 | 6.5 | 0.24967 |  | L1 | 2.11 | 0.16149 | L1 | 1.06 | 0.061228 | L1 | 2 | 0.29981 | L1 | 15.82 | 0.2139
L1 | 2.17 | 0.0072524 |  | L1 | 6.5 | 0.24027 |  | L1 | 2.11 | 0.18455 | L1 | 1.06 | 0.063621 | L1 | 2 | 0.3054 | L1 | 15.82 | 0.20859
L2 | 4.35 | 0.01485 |  | L2 | 13 | 0.52663 |  | L2 | 4.21 | 0.33507 | L2 | 2.13 | 0.12334 | L2 | 4 | 0.57958 | L2 | 31.64 | 0.43811
L2 | 4.35 | 0.011319 |  | L2 | 13 | 0.42483 |  | L2 | 4.21 | 0.37969 | L2 | 2.13 | 0.12738 | L2 | 4 | 0.58623 | L2 | 31.64 | 0.39664
L3 | 10.87 | 0.030183 |  | L3 | 32.5 | 1.2524 |  | L3 | 10.54 | 0.85721 | L3 | 5.32 | 0.30773 | L3 | 10.01 | 1.4132 | L3 | 79.1 | 1.0439
L3 | 10.87 | 0.028719 |  | L3 | 32.5 | 1.2151 |  | L3 | 10.54 | 1.009 | L3 | 5.32 | 0.33668 | L3 | 10.01 | 1.4925 | L3 | 79.1 | 1.0214
L4 | 17.39 | 0.04731 |  | L4 | 52 | 2.0376 |  | L4 | 16.86 | 1.5298 | L4 | 8.51 | 0.54246 | L4 | 16.02 | 2.4254 | L4 | 126.56 | 1.7434
L4 | 17.39 | 0.04746 |  | L4 | 52 | 2.0883 |  | L4 | 16.86 | 1.7261 | L4 | 8.51 | 0.56742 | L4 | 16.02 | 2.4355 | L4 | 126.56 | 1.7129
L5 | 21.74 | 0.054857 |  | L5 | 65 | 2.4978 |  | L5 | 21.07 | 1.8757 | L5 | 10.64 | 0.65498 | L5 | 20.02 | 2.8619 | L5 | 158.2 | 2.0867
L5 | 21.74 | 0.051198 |  | L5 | 65 | 2.3487 |  | L5 | 21.07 | 2.083 | L5 | 10.64 | 0.68486 | L5 | 20.02 | 2.9067 | L5 | 158.2 | 2.001
L6 | 32.61 | 0.086069 |  | L6 | 97.49 | 3.7035 |  | L6 | 31.61 | 2.8711 | L6 | 15.96 | 0.98113 | L6 | 30.03 | 4.1736 | L6 | 237.3 | 3.0756
L6 | 32.61 | 0.085823 |  | L6 | 97.49 | 3.7501 |  | L6 | 31.61 | 3.1674 | L6 | 15.96 | 1.0346 | L6 | 30.03 | 4.2995 | L6 | 237.3 | 3.0367
L7 | 54.35 | 0.1534 |  | L7 | 162.49 | 6.5172 |  | L7 | 52.68 | 4.9799 | L7 | 26.6 | 1.6917 | L7 | 50.05 | 6.9378 | L7 | 395.5 | 5.2063
L7 | 54.35 | 0.13064 |  | L7 | 162.49 | 6.3007 |  | L7 | 52.68 | 5.4621 | L7 | 26.6 | 1.828 | L7 | 50.05 | 7.3477 | L7 | 395.5 | 5.2441
L8 | 86.96 | 0.23773 |  | L8 | 259.98 | 10.5117 |  | L8 | 84.28 | 8.0933 | L8 | 42.56 | 2.8499 | L8 | 80.08 | 11.3618 | L8 | 632.8 | 8.6342
L8 | 86.96 | 0.17232 |  | L8 | 259.98 | 10.1347 |  | L8 | 84.28 | 9.1674 | L8 | 42.56 | 3.3489 | L8 | 80.08 | 13.2593 | L8 | 632.8 | 9.5864
L9 | 108.7 | 0.25799 |  | L9 | 324.98 | 11.9933 |  | L9 | 105.35 | 9.0821 | L9 | 53.2 | 3.321 | L9 | 100.1 | 13.1569 | L9 | 791 | 10.1193
L9 | 108.7 | 0.24373 |  | L9 | 324.98 | 11.892 |  | L9 | 105.35 | 9.186 | L9 | 53.2 | 3.2834 | L9 | 100.1 | 12.7058 | L9 | 791 | 9.5308
slope |  | 0.002403 |  |  |  | 0.037898 |  |  |  | 0.096868 |  |  | 0.064596 |  |  | 0.14627 |  |  | 0.013136
intercept |  | 0.0029617 |  |  |  | 0.046194 |  |  |  | -0.04732 |  |  | -0.010371 |  |  | 0.0079512 |  |  | -0.00011075
RSQ |  | 0.98808 |  |  |  | 0.9968 |  |  |  | 0.98764 |  |  | 0.9963 |  |  | 0.99771 |  |  | 0.99926
sample response ratios
Name | thiophene | SMTA | DMDS | DMTS | MMFDS | Thianaphthene
S21-1858 | 0 | 1.9559 | 5.5943 | 0.34108 | 0.032628 | 0.01199
S21-1858 | 0 | 2.0595 | 6.0454 | 0.37664 | 0.036106 | 0.0085464
S21-1858 spike | 0.035526 | 1.7956 | 5.7413 | 1.1777 | 0.30393 | 1.2134
S21-1858 spike | 0.034536 | 2.1781 | 5.8163 | 1.164 | 0.29681 | 1.1677
S21-1859 | 0 | 1.1417 | 5.5129 | 0.18679 | 0.018836 | 0.017012
S21-1859 | 0 | 1.2982 | 6.4757 | 0.23325 | 0.02124 | 0.0032324
S21-1860 | 0 | 1.7756 | 10.7046 | 0.33665 | 0.041664 | 0.0075004
S21-1860 | 0 | 1.6629 | 10.8211 | 0.35164 | 0.042093 | 0.0060687
S21-1861 | 0 | 0.98167 | 6.7269 | 0.25399 | 0.015965 | 0.0049709
S21-1861 | 0 | 0.96998 | 6.6017 | 0.27085 | 0.017274 | 0.0043036
S21-1862 | 0 | 2.0443 | 8.2163 | 0.45864 | 0.039166 | 0.040824
S21-1862 | 0 | 2.1116 | 8.5201 | 0.49024 | 0.041482 | 0.044186
sample concentrations
Name | thiophene | SMTA | DMDS | DMTS | MMFDS | Thianaphthene
S21-1858 | -1.2325 | 148.9077 | 146.3939 | 4.0096 | 0.66567 | 0.02761
S21-1858 | -1.2325 | 156.7935 | 158.2987 | 4.3767 | 0.71951 | 0.004069
S21-1858 spike | 13.5512 | 136.6998 | 150.2737 | 12.6464 | 4.8656 | 8.2411
S21-1858 spike | 13.1396 | 165.819 | 152.2528 | 12.5053 | 4.7555 | 7.9287
S21-1859 | -1.2325 | 86.9201 | 144.2472 | 2.4167 | 0.45215 | 0.061947
S21-1859 | -1.2325 | 98.837 | 169.6528 | 2.8964 | 0.48938 | -0.032261
S21-1860 | -1.2325 | 135.1798 | 281.2376 | 3.9638 | 0.80555 | -0.003082
S21-1860 | -1.2325 | 126.6031 | 284.3126 | 4.1186 | 0.8122 | -0.01287
S21-1861 | -1.2325 | 74.7403 | 176.28 | 3.1105 | 0.40771 | -0.020376
S21-1861 | -1.2325 | 73.8502 | 172.9753 | 3.2846 | 0.42797 | -0.024938
S21-1862 | -1.2325 | 155.6335 | 215.5804 | 5.2232 | 0.76689 | 0.22474
S21-1862 | -1.2325 | 160.7609 | 223.5972 | 5.5494 | 0.80273 | 0.24772
Recoveries
|  | thiophene | SMTA | DMDS | DMTS | MMFDS | thianaphthene
L9 conc |  | 108.7 | 791 | 324.98 | 105.35 | 53.2 | 100.1
spike level |  | 10.87 | 79.1 | 32.498 | 10.535 | 5.32 | 10.01
Sample | Run no. | thiophene | SMTA | DMDS | DMTS | MMFDS | thianaphthene
S21-1858 | a | -1.2325 | 148.9077 | 146.3939 | 4.0096 | 0.66567 | 0.02761
S21-1858 | b | -1.2325 | 156.7935 | 158.2987 | 4.3767 | 0.71951 | 0.004069
S21-1858 spike | a | 13.5512 | 136.6998 | 150.2737 | 12.6464 | 4.8656 | 8.2411
S21-1858 spike | b | 13.1396 | 165.819 | 152.2528 | 12.5053 | 4.7555 | 7.9287
mean S21-1858 |  | 0 | 152.8506 | 152.3463 | 4.1931 | 0.69259 | 0.015839
|  | 13.5512 | -16.1508 | -2.0727 | 8.4533 | 4.173 | 8.2253
|  | 13.1396 | 12.9684 | -0.093515 | 8.3122 | 4.0629 | 7.9129
|  | 124.6664 | -20.4183 | -6.3778 | 80.2398 | 78.4401 | 82.1706
|  | 120.8792 | 16.395 | -0.28776 | 78.9005 | 76.3704 | 79.0501
mean recovery (%) |  | 122.7728 | -2.0116 | -3.3328 | 79.5701 | 77.4053 | 80.6103

## results repeat
Name | Data File | Acq. Date-Time | thiophene | SMTA | DMDS | DEDS | DMTS | MMFDS | Thianaphthene
Blank | 060921bh01.D | 2021-09-06 17:48 | 1535 | 1580 | 12402 | 1009185 | 10336 | 886 | 49886
Blank | 060921bh02.D | 2021-09-06 18:39 | 1114 | 663 | 10376 | 921237 | 8753 | 187 | 1631
L1 | 060921bh03.D | 2021-09-06 19:29 | 13144 | 324590 | 404076 | 756925 | 322289 | 97275 | 477360
L2 | 060921bh04.D | 2021-09-06 20:20 | 24479 | 667304 | 842805 | 761067 | 665992 | 198967 | 935329
L3 | 060921bh05.D | 2021-09-06 21:10 | 55315 | 1775753 | 2299804 | 798522 | 1843581 | 552037 | 2453543
L4 | 060921bh06.D | 2021-09-06 22:01 | 79808 | 2776143 | 3529679 | 875858 | 3079379 | 911961 | 3920113
L5 | 060921bh07.D | 2021-09-06 22:51 | 94144 | 3487970 | 4303505 | 858837 | 3863444 | 1150607 | 4893091
L6 | 060921bh08.D | 2021-09-06 23:42 | 143280 | 5243772 | 6688273 | 850804 | 5985928 | 1791108 | 7347795
L7 | 060921bh09.D | 2021-09-07 00:32 | 211501 | 8483858 | 10696147 | 833080 | 9605960 | 2990463 | 11801585
L8 | 060921bh10.D | 2021-09-07 01:23 | 358633 | 13534355 | 17748398 | 793419 | 14524915 | 4686706 | 17784410
L9 | 060921bh11.D | 2021-09-07 02:13 | 413735 | 16373780 | 21279840 | 832682 | 16250518 | 5510981 | 20431124
Blank | 060921bh12.D | 2021-09-07 03:04 | 686 | 1184 | 9812 | 942872 | 9078 | 1799 | 32816
Blank | 060921bh13.D | 2021-09-07 03:54 | 590 | 832 | 8862 | 917455 | 8555 | 770 | 13591
S21-1858 | 060921bh14.D | 2021-09-07 04:45 | 0 | 3093122 | 9298311 | 746244 | 598453 | 52007 | 34183
S21-1859 | 060921bh15.D | 2021-09-07 05:35 | 0 | 2145191 | 8403113 | 729060 | 361100 | 30494 | 8533
S21-1860 | 060921bh16.D | 2021-09-07 06:26 | 0 | 2671610 | 16472680 | 792800 | 573684 | 62600 | 13227
S21-1861 | 060921bh17.D | 2021-09-07 07:16 | 0 | 1488319 | 10336339 | 797947 | 441642 | 27878 | 7820
S21-1862 | 060921bh18.D | 2021-09-07 08:07 | 0 | 3412322 | 14137039 | 865030 | 886670 | 66888 | 73492
S21-1858 spike | 060921bh19.D | 2021-09-07 08:57 | 64171 | 4026916 | 10923520 | 911886 | 2504540 | 560621 | 2168782
Blank | 060921bh20.D | 2021-09-07 09:48 | 667 | 672 | 9140 | 976272 | 8816 | 278 | 3707
S21-1858 spike | 060921bh21.D | 2021-09-07 10:39 | 62522 | 4091680 | 11027140 | 850968 | 2564782 | 574021 | 2220772
S21-1862 | 060921bh22.D | 2021-09-07 11:29 | 0 | 3505546 | 14642428 | 851960 | 879191 | 70347 | 71800
S21-1861 | 060921bh23.D | 2021-09-07 12:20 | 0 | 1554348 | 10784851 | 799573 | 474765 | 29047 | 7038
S21-1860 | 060921bh24.D | 2021-09-07 13:10 | 0 | 2811980 | 17293055 | 849762 | 617707 | 67011 | 10076
S21-1859 | 060921bh25.D | 2021-09-07 14:01 | 0 | 2380462 | 9734595 | 851406 | 425638 | 34225 | 7384
S21-1858 | 060921bh26.D | 2021-09-07 14:51 | 0 | 3234775 | 9663125 | 820302 | 691082 | 58300 | 15871
Blank | 060921bh27.D | 2021-09-07 15:42 | 631 | 706 | 8858 | 1007762 | 9518 | 198 | 2956
L1 | 060921bh28.D | 2021-09-07 16:33 | 11283 | 333049 | 367137 | 852145 | 369121 | 109749 | 532969
L2 | 060921bh29.D | 2021-09-07 17:23 | 20433 | 641570 | 721812 | 895662 | 752471 | 222791 | 1045873
L3 | 060921bh30.D | 2021-09-07 18:14 | 39012 | 1705681 | 1710554 | 879329 | 2059660 | 621984 | 2784232
L4 | 060921bh31.D | 2021-09-07 19:05 | 66789 | 2786164 | 3106140 | 921878 | 3485310 | 1038400 | 4501611
L5 | 060921bh32.D | 2021-09-07 19:56 | 86688 | 3461687 | 3640243 | 907172 | 4374981 | 1301455 | 5564094
L6 | 060921bh33.D | 2021-09-07 20:46 | 123462 | 5209924 | 5835929 | 1006851 | 6697193 | 2019186 | 8295754
L7 | 060921bh34.D | 2021-09-07 21:37 | 212473 | 8840753 | 10470828 | 916603 | 11018642 | 3361289 | 13103202
L8 | 060921bh35.D | 2021-09-07 22:28 | 338302 | 14255829 | 17332800 | 893758 | 16374946 | 5330213 | 19802713
L9 | 060921bh36.D | 2021-09-07 23:18 | 489717 | 18236242 | 23323102 | 862418 | 18714155 | 6327282 | 22067413
Blank | 060921bh37.D | 2021-09-08 00:09 | 1072 | 1313 | 10109 | 944314 | 9132 | 918 | 23537
Blank | 060921bh38.D | 2021-09-08 01:00 | 450 | 635 | 8934 | 935418 | 8887 | 402 | 8466
Blank | 030921bh01.D | 2021-09-03 14:55 | 243 | 336 | 730 | 5693 | 606 | 841 | 41475
s21-1858 with IS | 030921bh02.D | 2021-09-03 15:45 | 12281 | 2067389 | 6530249 | 555669 | 395973 | 29329 | 9943
s21-1858 no IS | 030921bh03.D | 2021-09-03 16:36 | 15553 | 2036394 | 6303555 | 96079 | 431335 | 36275 | 9209
s21-1858 spike with IS | 030921bh04.D | 2021-09-03 17:26 | 43565 | 2655517 | 6737945 | 573282 | 1632095 | 405965 | 1638396
s21-1858 spike no IS | 030921bh05.D | 2021-09-03 18:17 | 47431 | 2817408 | 7324183 | 58633 | 1720220 | 434538 | 1734792
Blank | 030921bh06.D | 2021-09-03 19:07 | 177 | 289 | 896 | 4645 | 312 | 188 | 2562
Name | Data File | Acq. Date-Time | thiophene | SMTA | DMDS | DEDS | DMTS | MMFDS | Thianaphthene
Blank | 060921bh01.D | 2021-09-06 17:48 | 0.001521 | 0.0015656 | 0.012289 | 1 | 0.010242 | 0.00087794 | 0.049432
Blank | 060921bh02.D | 2021-09-06 18:39 | 0.0012092 | 0.00071968 | 0.011263 | 1 | 0.0095014 | 0.00020299 | 0.0017704
L1 | 060921bh03.D | 2021-09-06 19:29 | 0.017365 | 0.42883 | 0.53384 | 1 | 0.42579 | 0.12851 | 0.63066
L2 | 060921bh04.D | 2021-09-06 20:20 | 0.032164 | 0.8768 | 1.1074 | 1 | 0.87508 | 0.26143 | 1.229
L3 | 060921bh05.D | 2021-09-06 21:10 | 0.069272 | 2.2238 | 2.8801 | 1 | 2.3087 | 0.69132 | 3.0726
L4 | 060921bh06.D | 2021-09-06 22:01 | 0.09112 | 3.1696 | 4.03 | 1 | 3.5158 | 1.0412 | 4.4757
L5 | 060921bh07.D | 2021-09-06 22:51 | 0.10962 | 4.0613 | 5.0109 | 1 | 4.4985 | 1.3397 | 5.6973
L6 | 060921bh08.D | 2021-09-06 23:42 | 0.16841 | 6.1633 | 7.8611 | 1 | 7.0356 | 2.1052 | 8.6363
L7 | 060921bh09.D | 2021-09-07 00:32 | 0.25388 | 10.1837 | 12.8393 | 1 | 11.5307 | 3.5896 | 14.1662
L8 | 060921bh10.D | 2021-09-07 01:23 | 0.45201 | 17.0583 | 22.3695 | 1 | 18.3067 | 5.907 | 22.4149
L9 | 060921bh11.D | 2021-09-07 02:13 | 0.49687 | 19.6639 | 25.5558 | 1 | 19.5159 | 6.6184 | 24.5365
Blank | 060921bh12.D | 2021-09-07 03:04 | 0.00072756 | 0.0012557 | 0.010407 | 1 | 0.009628 | 0.001908 | 0.034804
Blank | 060921bh13.D | 2021-09-07 03:54 | 0.00064308 | 0.00090686 | 0.0096593 | 1 | 0.0093247 | 0.00083928 | 0.014814
S21-1858 | 060921bh14.D | 2021-09-07 04:45 | 0 | 4.1449 | 12.4601 | 1 | 0.80195 | 0.069692 | 0.045807
S21-1859 | 060921bh15.D | 2021-09-07 05:35 | 0 | 2.9424 | 11.526 | 1 | 0.4953 | 0.041826 | 0.011704
S21-1860 | 060921bh16.D | 2021-09-07 06:26 | 0 | 3.3698 | 20.7779 | 1 | 0.72362 | 0.078961 | 0.016684
S21-1861 | 060921bh17.D | 2021-09-07 07:16 | 0 | 1.8652 | 12.9537 | 1 | 0.55347 | 0.034937 | 0.0098001
S21-1862 | 060921bh18.D | 2021-09-07 08:07 | 0 | 3.9447 | 16.3428 | 1 | 1.025 | 0.077324 | 0.084959
S21-1858 spike | 060921bh19.D | 2021-09-07 08:57 | 0.070372 | 4.416 | 11.979 | 1 | 2.7465 | 0.61479 | 2.3783
Blank | 060921bh20.D | 2021-09-07 09:48 | 0.00068321 | 0.00068833 | 0.0093621 | 1 | 0.0090303 | 0.00028476 | 0.0037971
S21-1858 spike | 060921bh21.D | 2021-09-07 10:39 | 0.073472 | 4.8083 | 12.9583 | 1 | 3.014 | 0.67455 | 2.6097
S21-1862 | 060921bh22.D | 2021-09-07 11:29 | 0 | 4.1147 | 17.1868 | 1 | 1.032 | 0.082571 | 0.084276
S21-1861 | 060921bh23.D | 2021-09-07 12:20 | 0 | 1.944 | 13.4883 | 1 | 0.59377 | 0.036328 | 0.0088022
S21-1860 | 060921bh24.D | 2021-09-07 13:10 | 0 | 3.3091 | 20.3505 | 1 | 0.72692 | 0.078859 | 0.011857
S21-1859 | 060921bh25.D | 2021-09-07 14:01 | 0 | 2.7959 | 11.4336 | 1 | 0.49992 | 0.040198 | 0.0086727
S21-1858 | 060921bh26.D | 2021-09-07 14:51 | 0 | 3.9434 | 11.78 | 1 | 0.84247 | 0.071071 | 0.019348
Blank | 060921bh27.D | 2021-09-07 15:42 | 0.00062614 | 0.00070056 | 0.0087898 | 1 | 0.0094447 | 0.00019647 | 0.0029332
L1 | 060921bh28.D | 2021-09-07 16:33 | 0.013241 | 0.39084 | 0.43084 | 1 | 0.43317 | 0.12879 | 0.62544
L2 | 060921bh29.D | 2021-09-07 17:23 | 0.022813 | 0.71631 | 0.8059 | 1 | 0.84013 | 0.24874 | 1.1677
L3 | 060921bh30.D | 2021-09-07 18:14 | 0.044366 | 1.9398 | 1.9453 | 1 | 2.3423 | 0.70734 | 3.1663
L4 | 060921bh31.D | 2021-09-07 19:05 | 0.072449 | 3.0223 | 3.3694 | 1 | 3.7807 | 1.1264 | 4.8831
L5 | 060921bh32.D | 2021-09-07 19:56 | 0.095559 | 3.8159 | 4.0127 | 1 | 4.8227 | 1.4346 | 6.1334
L6 | 060921bh33.D | 2021-09-07 20:46 | 0.12262 | 5.1745 | 5.7962 | 1 | 6.6516 | 2.0054 | 8.2393
L7 | 060921bh34.D | 2021-09-07 21:37 | 0.2318 | 9.6451 | 11.4235 | 1 | 12.0212 | 3.6671 | 14.2954
L8 | 060921bh35.D | 2021-09-07 22:28 | 0.37852 | 15.9504 | 19.3932 | 1 | 18.3215 | 5.9638 | 22.1567
L9 | 060921bh36.D | 2021-09-07 23:18 | 0.56784 | 21.1455 | 27.0438 | 1 | 21.6996 | 7.3367 | 25.5878
Blank | 060921bh37.D | 2021-09-08 00:09 | 0.0011352 | 0.0013904 | 0.010705 | 1 | 0.0096705 | 0.00097213 | 0.024925
Blank | 060921bh38.D | 2021-09-08 01:00 | 0.00048107 | 0.00067884 | 0.0095508 | 1 | 0.0095006 | 0.00042975 | 0.0090505
Name | Data File | Acq. Date-Time | thiophene | SMTA | DMDS | DMTS | MMFDS | Thianaphthene
Blank | 060921bh01.D | 44445.7417 | 0.001521 | 0.0015656 | 0.012289 | 0.010242 | 0.00087794 | 0.049432
Blank | 060921bh02.D | 44445.7771 | 0.0012092 | 0.00071968 | 0.011263 | 0.0095014 | 0.00020299 | 0.0017704
Blank | 060921bh12.D | 44446.1278 | 0.00072756 | 0.0012557 | 0.010407 | 0.009628 | 0.001908 | 0.034804
Blank | 060921bh13.D | 44446.1625 | 0.00064308 | 0.00090686 | 0.0096593 | 0.0093247 | 0.00083928 | 0.014814
Blank | 060921bh20.D | 44446.4083 | 0.00068321 | 0.00068833 | 0.0093621 | 0.0090303 | 0.00028476 | 0.0037971
Blank | 060921bh27.D | 44446.6542 | 0.00062614 | 0.00070056 | 0.0087898 | 0.0094447 | 0.00019647 | 0.0029332
Blank | 060921bh37.D | 44447.0062 | 0.0011352 | 0.0013904 | 0.010705 | 0.0096705 | 0.00097213 | 0.024925
Blank | 060921bh38.D | 44447.0417 | 0.00048107 | 0.00067884 | 0.0095508 | 0.0095006 | 0.00042975 | 0.0090505
L1 | 060921bh03.D | 44445.8118 | 0.017365 | 0.42883 | 0.53384 | 0.42579 | 0.12851 | 0.63066
L1 | 060921bh28.D | 44446.6896 | 0.013241 | 0.39084 | 0.43084 | 0.43317 | 0.12879 | 0.62544
L2 | 060921bh04.D | 44445.8472 | 0.032164 | 0.8768 | 1.1074 | 0.87508 | 0.26143 | 1.229
L2 | 060921bh29.D | 44446.7243 | 0.022813 | 0.71631 | 0.8059 | 0.84013 | 0.24874 | 1.1677
L3 | 060921bh05.D | 44445.8819 | 0.069272 | 2.2238 | 2.8801 | 2.3087 | 0.69132 | 3.0726
L3 | 060921bh30.D | 44446.7597 | 0.044366 | 1.9398 | 1.9453 | 2.3423 | 0.70734 | 3.1663
L4 | 060921bh06.D | 44445.9174 | 0.09112 | 3.1696 | 4.03 | 3.5158 | 1.0412 | 4.4757
L4 | 060921bh31.D | 44446.7951 | 0.072449 | 3.0223 | 3.3694 | 3.7807 | 1.1264 | 4.8831
L5 | 060921bh07.D | 44445.9521 | 0.10962 | 4.0613 | 5.0109 | 4.4985 | 1.3397 | 5.6973
L5 | 060921bh32.D | 44446.8306 | 0.095559 | 3.8159 | 4.0127 | 4.8227 | 1.4346 | 6.1334
L6 | 060921bh08.D | 44445.9875 | 0.16841 | 6.1633 | 7.8611 | 7.0356 | 2.1052 | 8.6363
L6 | 060921bh33.D | 44446.8653 | 0.12262 | 5.1745 | 5.7962 | 6.6516 | 2.0054 | 8.2393
L7 | 060921bh09.D | 44446.0222 | 0.25388 | 10.1837 | 12.8393 | 11.5307 | 3.5896 | 14.1662
L7 | 060921bh34.D | 44446.9007 | 0.2318 | 9.6451 | 11.4235 | 12.0212 | 3.6671 | 14.2954
L8 | 060921bh10.D | 44446.0576 | 0.45201 | 17.0583 | 22.3695 | 18.3067 | 5.907 | 22.4149
L8 | 060921bh35.D | 44446.9361 | 0.37852 | 15.9504 | 19.3932 | 18.3215 | 5.9638 | 22.1567
L9 | 060921bh11.D | 44446.0924 | 0.49687 | 19.6639 | 25.5558 | 19.5159 | 6.6184 | 24.5365
L9 | 060921bh36.D | 44446.9708 | 0.56784 | 21.1455 | 27.0438 | 21.6996 | 7.3367 | 25.5878
S21-1858 | 060921bh14.D | 44446.1979 | 0 | 4.1449 | 12.4601 | 0.80195 | 0.069692 | 0.045807
S21-1858 | 060921bh26.D | 44446.6188 | 0 | 3.9434 | 11.78 | 0.84247 | 0.071071 | 0.019348
S21-1858 spike | 060921bh19.D | 44446.3729 | 0.070372 | 4.416 | 11.979 | 2.7465 | 0.61479 | 2.3783
S21-1858 spike | 060921bh21.D | 44446.4437 | 0.073472 | 4.8083 | 12.9583 | 3.014 | 0.67455 | 2.6097
S21-1859 | 060921bh15.D | 44446.2326 | 0 | 2.9424 | 11.526 | 0.4953 | 0.041826 | 0.011704
S21-1859 | 060921bh25.D | 44446.584 | 0 | 2.7959 | 11.4336 | 0.49992 | 0.040198 | 0.0086727
S21-1860 | 060921bh16.D | 44446.2681 | 0 | 3.3698 | 20.7779 | 0.72362 | 0.078961 | 0.016684
S21-1860 | 060921bh24.D | 44446.5486 | 0 | 3.3091 | 20.3505 | 0.72692 | 0.078859 | 0.011857
S21-1861 | 060921bh17.D | 44446.3028 | 0 | 1.8652 | 12.9537 | 0.55347 | 0.034937 | 0.0098001
S21-1861 | 060921bh23.D | 44446.5139 | 0 | 1.944 | 13.4883 | 0.59377 | 0.036328 | 0.0088022
S21-1862 | 060921bh18.D | 44446.3382 | 0 | 3.9447 | 16.3428 | 1.025 | 0.077324 | 0.084959
S21-1862 | 060921bh22.D | 44446.4785 | 0 | 4.1147 | 17.1868 | 1.032 | 0.082571 | 0.084276
|  | average blank | 0.00087832 | 0.00098826 | 0.010253 | 0.0095428 | 0.00071392 | 0.017691
|  | blank st dev | 0.00035255 | 0.00036616 | 0.0011979 | 0.00037276 | 0.00061054 | 0.018324
|  | 3 x st dev | 0.0010577 | 0.0010985 | 0.0035938 | 0.0011183 | 0.0018316 | 0.054972
|  | average blank + 3 x st dev | 0.001936 | 0.0020867 | 0.013847 | 0.010661 | 0.0025455 | 0.072663
|  | RMSE from calibration curve | 0.0090514 | 0.27054
|  | 3 x RMSE | 0.027154 | 0.81161

## data analysis repeat
Calibration curves
Level | thiophene | response |  | Level | DMDS | response |  | Level | DMTS | response |  | Level | MMFDS | response | Level | thianaphthene | response | Level | s-methyl thioacetate | response
L1 | 2.17 | 0.017365 |  | L1 | 6.5 | 0.53384 |  | L1 | 2.11 | 0.42579 |  | L1 | 1.06 | 0.12851 | L1 | 2 | 0.63066 | L1 | 15.82 | 0.42883
L1 | 2.17 | 0.013241 |  | L1 | 6.5 | 0.43084 |  | L1 | 2.11 | 0.43317 |  | L1 | 1.06 | 0.12879 | L1 | 2 | 0.62544 | L1 | 15.82 | 0.39084
L2 | 4.35 | 0.032164 |  | L2 | 13 | 1.1074 |  | L2 | 4.21 | 0.87508 |  | L2 | 2.13 | 0.26143 | L2 | 4 | 1.229 | L2 | 31.64 | 0.8768
L2 | 4.35 | 0.022813 |  | L2 | 13 | 0.8059 |  | L2 | 4.21 | 0.84013 |  | L2 | 2.13 | 0.24874 | L2 | 4 | 1.1677 | L2 | 31.64 | 0.71631
L3 | 10.87 | 0.069272 |  | L3 | 32.5 | 2.8801 |  | L3 | 10.54 | 2.3087 |  | L3 | 5.32 | 0.69132 | L3 | 10.01 | 3.0726 | L3 | 79.1 | 2.2238
L3 | 10.87 | 0.044366 |  | L3 | 32.5 | 1.9453 |  | L3 | 10.54 | 2.3423 |  | L3 | 5.32 | 0.70734 | L3 | 10.01 | 3.1663 | L3 | 79.1 | 1.9398
L4 | 17.39 | 0.09112 |  | L4 | 52 | 4.03 |  | L4 | 16.86 | 3.5158 |  | L4 | 8.51 | 1.0412 | L4 | 16.02 | 4.4757 | L4 | 126.56 | 3.1696
L4 | 17.39 | 0.072449 |  | L4 | 52 | 3.3694 |  | L4 | 16.86 | 3.7807 |  | L4 | 8.51 | 1.1264 | L4 | 16.02 | 4.8831 | L4 | 126.56 | 3.0223
L5 | 21.74 | 0.10962 |  | L5 | 65 | 5.0109 |  | L5 | 21.07 | 4.4985 |  | L5 | 10.64 | 1.3397 | L5 | 20.02 | 5.6973 | L5 | 158.2 | 4.0613
L5 | 21.74 | 0.095559 |  | L5 | 65 | 4.0127 |  | L5 | 21.07 | 4.8227 |  | L5 | 10.64 | 1.4346 | L5 | 20.02 | 6.1334 | L5 | 158.2 | 3.8159
L6 | 32.61 | 0.16841 |  | L6 | 97.49 | 7.8611 |  | L6 | 31.61 | 7.0356 |  | L6 | 15.96 | 2.1052 | L6 | 30.03 | 8.6363 | L6 | 237.3 | 6.1633
L6 | 32.61 | 0.12262 |  | L6 | 97.49 | 5.7962 |  | L6 | 31.61 | 6.6516 |  | L6 | 15.96 | 2.0054 | L6 | 30.03 | 8.2393 | L6 | 237.3 | 5.1745
L7 | 54.35 | 0.25388 |  | L7 | 162.49 | 12.8393 |  | L7 | 52.68 | 11.5307 |  | L7 | 26.6 | 3.5896 | L7 | 50.05 | 14.1662 | L7 | 395.5 | 10.1837
L7 | 54.35 | 0.2318 |  | L7 | 162.49 | 11.4235 |  | L7 | 52.68 | 12.0212 |  | L7 | 26.6 | 3.6671 | L7 | 50.05 | 14.2954 | L7 | 395.5 | 9.6451
L8 | 86.96 | 0.45201 |  | L8 | 259.98 | 22.3695 |  | L8 | 84.28 | 18.3067 |  | L8 | 42.56 | 5.907 | L8 | 80.08 | 22.4149 | L8 | 632.8 | 17.0583
L8 | 86.96 | 0.37852 |  | L8 | 259.98 | 19.3932 |  | L8 | 84.28 | 18.3215 |  | L8 | 42.56 | 5.9638 | L8 | 80.08 | 22.1567 | L8 | 632.8 | 15.9504
L9 | 108.7 | 0.49687 |  | L9 | 324.98 | 25.5558 |  | L9 | 105.35 | 19.5159 |  | L9 | 53.2 | 6.6184 | L9 | 100.1 | 24.5365 | L9 | 791 | 19.6639
L9 | 108.7 | 0.56784 |  | L9 | 324.98 | 27.0438 |  | L9 | 105.35 | 21.6996 |  | L9 | 53.2 | 7.3367 | L9 | 100.1 | 25.5878 | L9 | 791 | 21.1455
slope |  | 0.0043636 |  |  |  | 0.081317 |  |  |  | 0.22254 |  |  |  | 0.131 |  |  | 0.29214 |  |  | 0.024762
intercept |  | 0.0074704 |  |  |  | -0.47179 |  |  |  | -0.054262 |  |  |  | -0.0139 |  |  | 0.066924 |  |  | 0.0073059
RSQ |  | 0.94169 |  |  |  | 0.99079 |  |  |  | 0.99618 |  |  |  | 0.99573 |  |  | 0.99431 |  |  | 0.99326
sample response ratios
Name | thiophene | SMTA | DMDS | DMTS | MMFDS | Thianaphthene
S21-1858 | 0 | 4.1449 | 12.4601 | 0.80195 | 0.069692 | 0.045807
S21-1858 | 0 | 3.9434 | 11.78 | 0.84247 | 0.071071 | 0.019348
S21-1858 spike | 0.070372 | 4.416 | 11.979 | 2.7465 | 0.61479 | 2.3783
S21-1858 spike | 0.073472 | 4.8083 | 12.9583 | 3.014 | 0.67455 | 2.6097
S21-1859 | 0 | 2.9424 | 11.526 | 0.4953 | 0.041826 | 0.011704
S21-1859 | 0 | 2.7959 | 11.4336 | 0.49992 | 0.040198 | 0.0086727
S21-1860 | 0 | 3.3698 | 20.7779 | 0.72362 | 0.078961 | 0.016684
S21-1860 | 0 | 3.3091 | 20.3505 | 0.72692 | 0.078859 | 0.011857
S21-1861 | 0 | 1.8652 | 12.9537 | 0.55347 | 0.034937 | 0.0098001
S21-1861 | 0 | 1.944 | 13.4883 | 0.59377 | 0.036328 | 0.0088022
S21-1862 | 0 | 3.9447 | 16.3428 | 1.025 | 0.077324 | 0.084959
S21-1862 | 0 | 4.1147 | 17.1868 | 1.032 | 0.082571 | 0.084276
sample concentrations
Name | thiophene | SMTA | DMDS | DMTS | MMFDS | Thianaphthene
S21-1858 | 0 | 167.0929 | 159.0314 | 3.8475 | 0.63809 | 0
S21-1858 | 0 | 158.9545 | 150.6667 | 4.0296 | 0.64862 | 0
S21-1858 spike | 14.415 | 178.0413 | 153.1149 | 12.5859 | 4.7991 | 7.912
S21-1858 spike | 15.1254 | 193.8813 | 165.158 | 13.7875 | 5.2552 | 8.7039
S21-1859 | 0 | 118.5307 | 147.5431 | 2.4695 | 0.42538 | 0
S21-1859 | 0 | 112.615 | 146.4067 | 2.4903 | 0.41295 | 0
S21-1860 | 0 | 135.7922 | 261.3189 | 3.4955 | 0.70884 | 0
S21-1860 | 0 | 133.3408 | 256.0631 | 3.5104 | 0.70806 | 0
S21-1861 | 0 | 75.0283 | 165.1004 | 2.731 | 0.37279 | 0
S21-1861 | 0 | 78.2101 | 171.6747 | 2.9121 | 0.38341 | 0
S21-1862 | 0 | 159.009 | 206.7789 | 4.8499 | 0.69635 | 0.061734
S21-1862 | 0 | 165.8718 | 217.1571 | 4.8811 | 0.7364 | 0.059397
Recoveries
|  | thiophene | SMTA | DMDS | DMTS | MMFDS | thianaphthene
L9 conc |  | 108.7 | 791 | 324.98 | 105.35 | 53.2 | 100.1
spike level |  | 10.87 | 79.1 | 32.498 | 10.535 | 5.32 | 10.01
Sample | Run no. | thiophene | SMTA | DMDS | DMTS | MMFDS | thianaphthene
S21-1858 | a | 0 | 167.0929 | 159.0314 | 3.8475 | 0.63809 | 0
S21-1858 | b | 0 | 158.9545 | 150.6667 | 4.0296 | 0.64862 | 0
S21-1858 spike | a | 14.415 | 178.0413 | 153.1149 | 12.5859 | 4.7991 | 7.912
S21-1858 spike | b | 15.1254 | 193.8813 | 165.158 | 13.7875 | 5.2552 | 8.7039
mean S21-1858 |  | 0 | 163.0237 | 154.849 | 3.9386 | 0.64335 | 0
HF added
|  | 14.415 | 15.0176 | -1.7341 | 8.6473 | 4.1557 | 7.912 |  | 14.415 | 31.32 | 13.7508 | 9.0412 | 4.22 | 7.912
|  | 15.1254 | 30.8576 | 10.309 | 9.849 | 4.6119 | 8.7039 |  | 15.1254 | 47.16 | 25.7939 | 10.2428 | 4.6762 | 8.7039
|  | 132.6127 | 18.9856 | -5.3361 | 82.0818 | 78.1147 | 79.0406 |  | 132.6127 | 39.5955 | 42.3127 | 85.8204 | 79.324 | 79.0406
|  | 139.1481 | 39.0109 | 31.7219 | 93.488 | 86.689 | 86.9518 |  | 139.1481 | 59.6207 | 79.3707 | 97.2266 | 87.8983 | 86.9518
mean recovery (%) |  | 135.8804 | 28.9983 | 13.1929 | 87.7849 | 82.4018 | 82.9962 |  | 135.8804 | 49.6081 | 60.8417 | 91.5235 | 83.6111 | 82.9962
LOD (blank + 3 x sd of blank, y intercept + 3 x RMSE for thiophene and SMTA)
|  | thiophene | SMTA | DMDS | DMTS | MMFDS | thianaphthene
blank + 3 x sd of blank, 3 x RMSE for thiophene and SMTA |  | 0.027154 | 0.81161 | 0.013847 | 0.010661 | 0.0025455 | 0.072663
LOD |  | 6.2229 | 32.7761 | 5.9721 | 0.29174 | 0.12553 | 0.019644
Validation data
Parameter | thiophene | SMTA | DMDS | DMTS | MMFDS | thianaphthene
Calibration range (ppb) | 2.2-21.7 | 15.9-395.5 | 6.5-325.0 | 2.1-21.1 | 1.1-10.6 | 2.0-20.0
Calibration curve R2 | 0.94169 | 0.99326 | 0.99079 | 0.99618 | 0.99573 | 0.99431
Estimated LOD (ppb) | 6.2229 | 32.7761 | 5.9721 | 0.29174 | 0.12553 | 0.019644
% recovery | 135.8804 | 49.6081 | 60.8417 | 91.5235 | 83.6111 | 82.9962
sample repeatability
Name | CV(thiophene) | CV(SMTA) | CV(DMDS) | CV(DMTS) | CV(MMFDS) | CV(Thianaphthene)
S21-1858 |  | 3.53 | 3.8197 | 3.2689 | 1.1575
S21-1858 spike | 3.4009 | 6.0231 | 5.3512 | 6.4435 | 6.4162 | 6.7402
S21-1859 |  | 3.6194 | 0.5467 | 0.59302 | 2.0967
S21-1860 |  | 1.2881 | 1.4366 | 0.29935 | 0.077785
S21-1861 |  | 2.9364 | 2.7607 | 4.5385 | 1.9857
S21-1862 |  | 2.9874 | 3.4621 | 0.45364 | 3.9529 | 2.7281
report table
SWRI No. | Description | thiophene | SMTA | DMDS | DMTS | MMFDS | thianaphthene
S21-1858 | Royal Brackla 2113811-GB12 | 0 | 163.0237 | 154.849 | 3.9386 | 0.64335 | 0
S21-1859 | Aultmore 2113808-GB12 | 0 | 115.5728 | 146.9749 | 2.4799 | 0.41917 | 0
S21-1860 | MacDuff 2113810-GB12 | 0 | 134.5665 | 258.691 | 3.5029 | 0.70845 | 0
S21-1861 | Aberfeldy 2113807-GB12 | 0 | 76.6192 | 168.3875 | 2.8215 | 0.3781 | 0
S21-1862 | Craigellachie 2113809-GB12 | 0 | 162.4404 | 211.968 | 4.8655 | 0.71637 | 0.060565
Compound aroma detection threshold (20% ethanol) |  | 1.53ppb | 42ppb | 30ppb | 0.033ppb | 0.019ppb | 12.2ppb
Description of compound aroma |  | gassy, onion | cooked vegetables | burnt vegetables, rubber | rotten vegetables, eggs | meaty, heavy | mothballs, naptha

## compare repeats
Name | run | SMTA | DMDS | DMTS | MMFDS | Thianaphthene
S21-1858 | a | 148.9077 | 146.3939 | 4.0096 | 0.66567 | 0.02761
S21-1858 | a | 156.7935 | 158.2987 | 4.3767 | 0.71951 | 0.004069
S21-1859 | a | 86.9201 | 144.2472 | 2.4167 | 0.45215 | 0.061947
S21-1859 | a | 98.837 | 169.6528 | 2.8964 | 0.48938 | -0.032261
S21-1860 | a | 135.1798 | 281.2376 | 3.9638 | 0.80555 | -0.003082
S21-1860 | a | 126.6031 | 284.3126 | 4.1186 | 0.8122 | -0.01287
S21-1861 | a | 74.7403 | 176.28 | 3.1105 | 0.40771 | -0.020376
S21-1861 | a | 73.8502 | 172.9753 | 3.2846 | 0.42797 | -0.024938
S21-1862 | a | 155.6335 | 215.5804 | 5.2232 | 0.76689 | 0.22474
S21-1862 | a | 160.7609 | 223.5972 | 5.5494 | 0.80273 | 0.24772
S21-1858 | b | 167.0929 | 159.0314 | 3.8475 | 0.63809 | 0
S21-1858 | b | 158.9545 | 150.6667 | 4.0296 | 0.64862 | 0
S21-1859 | b | 118.5307 | 147.5431 | 2.4695 | 0.42538 | 0
S21-1859 | b | 112.615 | 146.4067 | 2.4903 | 0.41295 | 0
S21-1860 | b | 135.7922 | 261.3189 | 3.4955 | 0.70884 | 0
S21-1860 | b | 133.3408 | 256.0631 | 3.5104 | 0.70806 | 0
S21-1861 | b | 75.0283 | 165.1004 | 2.731 | 0.37279 | 0
S21-1861 | b | 78.2101 | 171.6747 | 2.9121 | 0.38341 | 0
S21-1862 | b | 159.009 | 206.7789 | 4.8499 | 0.69635 | 0.061734
S21-1862 | b | 165.8718 | 217.1571 | 4.8811 | 0.7364 | 0.059397